# BATTERY MANAGEMENT SYSTEM FOR MINE

By

# ARNAB BANERJEE

### Thesis submitted to

INDIAN INSTITUTE OF TECHNOLOGY (INDIAN SCHOOL OF MINES), DHANBAD

### Under guidance of

Tanmoy Maity

for the award of the degree of

# MASTER OF TECHNOLOGY

in

## MINE ELECTRICAL ENGINEERING

## MAY, 2020

##### CERTIFICATE

This is to certify that ARNAB BANERJEE (Admission No.:18MT0084), a student of M.Tech. (Mine Electrical Engineering), Department of Mining Machinery Engineering, Indian Institute of Technology (Indian School of Mines), Dhanbad           has                   worked  under  my  guidance and completed his Dissertation entitled " BATTERY MANAGEMENT SYSTEM FOR MINES"

In  partial  fulfillment  of  the  requirement  for  award  of  degree  of  M.Tech  in Department of Mining  Machinery  Engineering  from  Indian  Institute  of  Technology (Indian  School  of Mines), Dhanbad. This work has not been submitted for any other degree, award, or distinction elsewhere to the best of my knowledge and belief. He is solely responsible for the technical data and information provided in this work.

###### Dr. Tanmoy Maity

Associate Professor

Department of Mining Machinery

IIT (ISM) Dhanbad

FORWARDED BY:

Head of the Department

Department of Mining Machinery Engineering

Indian Institute of Technology (Indian School of Mines), Dhanbad

Annexure-I

DECLARATION

I declare that this written submission represents my ideas in my own words and where others' ideas or words have been included, I have adequately cited and referenced the original sources. I also declare that I have adhered to all principles of academic honesty and integrity and have not misrepresented or fabricated or falsified any idea/data/fact/source in my submission. I understand that any violation of the above will be cause for disciplinary action by the Institute and can also evoke penal action from the sources which have thus not been properly cited or from whom proper permission has not been taken when needed.

To eliminate the scope of academic misconduct and plagiarism, I declare that I have read and understood the UGC (Promotion of Academic Integrity and Prevention of Plagiarism in Higher Educational Institutions) Regulations, 2018. These Regulations have been notified in the Official Gazette of India on 31st July, 2018.

I confirm that this Dissertation has been checked with the online plagiarism detector tool Turnitin (http:///www.turnitin.com) provided by IIT(ISM) Dhanbad and a copy of the summary report/report, showing Similarities in content and its potential source (if any), generated online through Turnitin is enclosed at the end of the Dissertation. I hereby declare that the Dissertation shows less than 10% similarity as per the report generated by Turnitin and meets the standards as per MHRD/UGC Regulations and rules of the Institute regarding plagiarism.

I  further state that no part of the Dissertation and its data will be published without the consent of my guide. I also confirm that this Dissertation work, carried out under the guidance of Dr. Tanmoy Maity Associate Professor, Department of Mining Machinery Engineering, Indian Institute of Technology (Indian School of Mines),Dhanbad.

Arnab Banerjee

M.Tech(Mine Electrical Engineering)

Admission No. 18MT0084

Indian Institute of Technology, Dhanbad

ABSTRACT

The battery2is a fundamental component of electric vehicles, which represent a step forward towards sustainable mobility. Lithium chemistry is now acknowledged as the technology of choice for energy storage in electric vehicles. However, several research points are still open. They include the best choice of the cell materials and the2development of electronic circuits and algorithms for a more effective battery utilization. This paper initially reviews the most interesting modelling approaches for predicting the battery performance and discusses the demanding requirements and standards that apply to ICs and systems for battery management. Then, a general and flexible architecture2for battery management implementation and the main techniques for state-of-charge estimation and charge balancing are reported. Finally, we describe the design and implementation of an innovative BMS, which incorporates an almost fully-integrated active charge equalizer. 2The coulomb counting method is expedient for state-of-charge (SOC) estimation of lithium-ion batteries with high charging and discharging efficiencies. The charging and discharging characteristics are investigated and reveal that the coulomb counting method is2convenient and accurate for estimating the SOC of lithium-ion batteries. A smart estimation method based on coulomb counting is proposed to improve the estimation accuracy. The corrections are made by considering the charging and operating efficiencies. Furthermore, the state-of-health (SOH) is evaluated by the maximum releasable capacity. Through the experiments that emulate practical operations, 2the SOC estimation method is verified to demonstrate the effectiveness and accuracy.

TABLE OF CONTENTS

Chapter-1: Introduction……………………………………………………………….1

Chapter-2: Literature Survey………………………………………………………21

Chapter-3: Simulation and Result of BMS model for

NiMh Batteries……………………………………………………….37

Chapter-4: Consideration of Intrinsic safe standards of BMS………51

Chapter-5: Conclusion and Future work……………………………………..57

1.Introduction

A 2 battery2the2  executives2  framework 2 (BMS) 2  is 2 any 2 electronic framework 2 that2  deals 2 with2  a 2 battery-powered 2 battery 2 (cell 2 or 2 battery2  pack, 2  for 2 example2, by 2 shielding 2 the2  battery2  from2  working2  outside 2 its2  safe2  working2  zone, 2observing2  its 2 state, ascertaining2  optional 2 information, 2  announcing 2 that2  information, controlling2  its 2 condition, 2  validating 2 it 2 and/or2  adjusting2  it.

A 2 battery 2 pack 2 constructed 2 together2  with 2 a2  battery 2 the2  executives framework2with an outside2  correspondence information transport is a 2 shrewd battery pack2. A keen battery2pack must be charged by savvy battery2charger .

There2  are 2 numerous 2 elements2  of2  BMS:

•	2 Monitor

•	2 Electric2Vehicles System: Energy recuperation

•	   Thermal Management

•	2 Computation

•	2 Communication2

•	2 Protection

•	2 Battery Connection to Load Circuit

•	2 Optimization

Monitor

A BMS may screen the condition of2the2battery as spoke to by different things, for example,

•	Voltage: absolute voltage2, voltages of individual cells, least and most extreme cel2 l voltage, or voltag2 e of occasional 2 taps

•	Temperature: normal temperature2, 2coolant consumption temperature, 2 coolant yield temperature, or 2 temperatures of individual 2 cells

•	State2  of2  Charge2  (SOC) 2 or 2 profundity2  of2  release2  (DOD), to2  demonstrate2the2  charge2  level2  of2  the2  battery

•	State2  of 2 Health 2 (SOH), a 2 differently 2 characterized 2 estimation2  of 2 the rest 2 of the2  limit 2 of the 2 battery2  as % of the2  first 2 limit

•	State of Power 2 (SOP), 2  the 2 measure 2 of intensity2  accessible for a 2 characterized2  time2interim2  given2  the2  present2  force utilization, 2  temperature and different conditions

•	State 2 of2  Safety 2 (SOS)

•	Coolant2  stream: for 2 air o2 r liquid 2 cooled 2 batteries

•	Current: current in or out of the battery

Electric Vehicle System: Energy Recovery

The BMS will likewise control the reviving of the battery2by diverting the recouped vitality (i.e.- from regenerative slowing down) once more into the battery pack (regularly made out of a couple of batteries, each made out of a couple of cells).

Heat Management

Battery warm administration frameworks can be either detached or dynamic, and the cooling medium2can either be air, fluid, or some type of stage change. Air cooling is profitable in its effortlessness. Such frameworks can be detached, depending just on the convection of the encompassing air, or dynamic, using fans for wind current. Monetarily, the Honda Insight and Toyota Prius both use dynamic air cooling of their battery frameworks. The significant hindrance of air cooling is its wastefulness. A lot of intensity must2used to work the cooling system, undeniably more than dynamic fluid cooling. The extra parts of the cooling instrument likewise add weight to the BMS, decreasing the effectiveness of batteries utilized for transportation.

Fluid cooling has a higher common cooling potential than air cooling as fluid coolants will in general have higher warm conductivities than air. The batteries can either be straightforwardly lowered in the coolant or coolant can move through the BMS without2legitimately reaching the battery. Aberrant cooling can possibly make enormous warm inclinations over the BMS because of the expanded length of the cooling channels. This can be decreased by siphoning the coolant quicker through the framework, making an exchange off between siphoning pace and warm2consistency.

Calculation

Furthermore, a BMS may ascertain values dependent on the2above things, for example,

•	Maximum charge present as a charge current cutoff (CCL).

•	Maximum release present as2a release current breaking point (DCL).

•	Energy [kWh] conveyed since last charge or charge cycle.

•	Internal impedance of a cell (to decide open circuit2voltage).

•	Charge [Ah] conveyed or put away (now and then this element is called Coulomb counter).

•	Total vitality conveyed since first use.

•	Total working2time since first use.

•	Total number of cycles.

Correspondence

The focal controller of a BMS discusses inside with its equipment working at a cell level, or remotely with elevated level2equipment, for example, PCs or a HMI.

Elevated level outer correspondence are basic and utilize a few strategies:

•	Different kinds of sequential interchanges.

•	CAN transport2interchanges, usually utilized in car situations.

•	Different kinds of Wireless interchanges.

Low voltage incorporated BMSs generally don't have any inward correspondences. They measure cell voltage by obstruction separate.

Dispersed or particular BMSs must utilize some2low level inner cell-controller (Modular design) or controller-controller (Distributed engineering) correspondence. These kinds of correspondences are troublesome, particularly for high voltage frameworks. The issue is voltage move between cells. The main cell ground sign might be several volts higher than the other cell ground signal. Aside from2programming conventions, there are two known methods for equipment correspondence for voltage moving frameworks, Optical-isolator and remote correspondence. Another limitation for inner interchanges is the most extreme number of cells. For particular engineering most equipment2is restricted to greatest 255 hubs. For high voltage frameworks the looking for time of all cells is another limitation, restricting least transport speeds and losing some equipment choices. Cost2of measured frameworks is significant, in light of the fact that it might be equivalent to the cell cost. Mix of equipment and programming limitations results to be a couple of choices for inward correspondence:

•	Isolated sequential interchanges

•	wireless2sequential interchanges

Assurance

A BMS may shield its battery by keeping it from working outside its safe working territory, for example,

•	Over-current (might be distinctive in charging and releasing modes)

•	Over-voltage (during charging), 2particularly significant for lead–corrosive and Li-particle cells

•	Under-voltage (during releasing)

•	Over-temperature

•	Under-temperature

•	Over-pressure (NiMH batteries)

•	Ground2shortcoming or spillage flow recognition (framework checking that the high voltage battery is electrically separated from any conductive article touchable to utilize like vehicle body)

The BMS may forestall activity outside the battery's sheltered working zone by:

•	Including an inside switch, (for example, a transfer2or strong state gadget) which is opened if the battery is worked outside its safe working zone

•	Requesting the gadgets to which the battery is associated with decrease or even end utilizing the battery.

•	Actively controlling the earth, for2example, through warmers, fans, cooling or fluid cooling.

Battery association with load circuit

A BMS may likewise highlight a precharge framework permitting a protected method to associate the battery2to various loads and wiping out the over the top inrush flows to stack capacitors.

The association with loads is ordinarily controlled through electromagnetic transfers called contactors. The precharge circuit can be either power resistors associated in arrangement with the heaps until the capacitors2are charged. On the other hand, an exchanged mode power supply associated in corresponding to burdens can be utilized to charge the voltage of the heap circuit up to a level close enough to battery2voltage so as to permit shutting the contactors among battery and burden circuit. A BMS may have a circuit that can check whether a transfer is now shut before precharging2 (because of welding for instance) to forestall inrush flows to happen.

Improvement

So as to expand the battery's ability, and to forestall restricted under-charging or over-charging, the BMS may2effectively guarantee that all the cells that make the battery are kept at a similar voltage or State of Charge, through adjusting. The BMS can adjust the cells by:

•	Wasting vitality from the most charged cells by interfacing them to a heap, (for example, through latent controllers)

•	Shuffling vitality from the most charged cells to the2least charged cells (balancers)

•	Reducing the charging current to an adequately low level that won't harm completely energized cells, while less charged cells may keep on charging (doesn't make a difference to Lithium science cells)

•	Modular charging.

TOPOLOGIES

BMS innovation fluctuates in2multifaceted nature and execution:

•	Simple latent controllers accomplish adjusting across batteries or cells by bypassing charging current when the cell's voltage arrives at a specific level. The cell voltage is a poor marker of the cell's SOC (and for certain Lithium sciences, for example, LiFePO42it is no pointer by any means), in this way, making cell voltages equivalent utilizing uninvolved controllers doesn't adjust SOC, which is the objective of a BMS. Accordingly, such gadgets, while absolutely useful, have extreme confinements2in their viability.

•	Active controllers brilliantly killing on and a heap when fitting, again to accomplish adjusting. In the event that lone the cell voltage is utilized as a parameter to empower the dynamic controllers, similar requirements noted above for aloof controllers apply.

•	A complete BMS2additionally reports the condition of the battery to a showcase, and secures the battery.

BMS topologies fall in 3 classes:

•	Centralized: a solitary controller is associated with the battery cells through a large number of wires

•	Distributed: a BMS board is introduced at every cell, 2with only a solitary correspondence link between the battery and a controller

•	Modular: a couple of controllers, each giving a specific number of cells, with correspondence between the controllers

Unified BMSs are generally prudent, least expandable, and are tormented by a huge number of wires. Dispersed BMSs are the most costly, least difficult to introduce, and offer the cleanest2gathering. Secluded BMSs offer a trade off of the highlights and issues of the other two topologies. The prerequisites for a BMS in portable applications, (for example, electric vehicles) and fixed applications (like reserve UPSs in a server room) are very extraordinary, particularly from the space and weight imperative necessities, so the equipment and programming usage must be custom fitted to the particular use. On account of electric or half and half vehicles, the BMS is just a subsystem and can't function as an independent gadget. It must speak with at any rate a charger (or charging framework), a heap, warm administration and crisis shutdown2subsystems. Along these lines, in a decent vehicle plan the BMS is firmly coordinated with those subsystems. Some little versatile applications, (for example, clinical gear trucks, mechanized wheelchairs, bikes, and fork lifts) frequently have outside charging equipment, anyway the on-board BMS should in any case have tight structure mix with the outer2charger.

Different Battery Balancing strategies are being used, some of them dependent on condition of charge hypothesis.

Electrochemical Cell

An electrochemical cell is a gadget able to do2either creating electrical vitality from substance responses or utilizing electrical vitality to cause concoction responses. The electrochemical cells which create an electric flow are called voltaic cells or galvanic cells and those that produce compound responses, by means of electrolysis for instance, are called electrolytic cell. A typical case of a galvanic cell is a standard 1.5 volt cell implied for customer use. A battery comprises of at least one cells, associated in equal, arrangement or arrangement and-equal2example.

Electrolytic Cell

An electrolytic is an electrochemical cell that drives a non-unconstrained redox response through the use of electrical vitality. They are regularly used to disintegrate concoction mixes, in a procedure2called electrolysis—the Greek word lysis intends to separate.

Significant instances of electrolysis are the disintegration of water into hydrogen and oxygen, and bauxite into aluminum and different synthetic concoctions. Electroplating (for example of copper, silver, 2nickel or chromium) is finished utilizing an electrolytic cell. Electrolysis is a method that utilizes an immediate electric flow (DC).

An electrolytic cell has three segment parts: an electrolyte and two terminals (a cathode and an anode). 2The electrolyte is normally an answer of water or different solvents in which particles are broken up. Liquid salts, for example, sodium chloride are likewise electrolytes. At the point when driven by an outside voltage applied to the anodes, the particles in the electrolyte are pulled in to a cathode with the contrary2charge, where charge-moving (likewise called faradaic or redox) responses can occur. Just with an outer electrical potential (for example voltage) of right extremity and adequate greatness can an electrolytic cell deteriorate a typically steady, or dormant synthetic compound in the arrangement. The electrical vitality gave can create a2compound response which would not happen precipitously something else.

The present electronic gadgets have higher portability and are greener than any time in recent memory. Battery headways are filling this movement in a wide scope of items from convenient force devices to module cross breed electric vehicles and remote speakers. Lately, the proficiency of a battery as far as how much force it can yield2concerning size and weight has drastically improved. Consider how substantial and cumbersome a vehicle battery is. Its fundamental reason for existing is to begin the vehicle. With ongoing headways, you can buy a lithium-particle battery to kick off your vehicle, and it just gauges two or three pounds and is the size of your hand. The continuous change of battery innovation has incited numerous newcomers to find2out about structuring battery the executives2frameworks. This article gives a tenderfoot's manual for the battery the executives framework (BMS) engineering, talks about the major useful squares, and clarifies the significance of each square to the battery the executives framework.

Building Blocks of a Battery Management System

A battery the board framework can be involved numerous practical squares including: cut-off FETs, a fuel check screen, cell voltage screen, cell voltage balance, constant clock (RTC), temperature screens and a2state machine. There are numerous sorts of battery the executives ICs accessible. The gathering of the practical squares shifts generally from a straightforward simple front end that offers adjusting and observing and2requires a microcontroller (MCU), to an independent, exceptionally incorporated arrangement that runs self-sufficiently. Presently we should investigate the reason and the innovation behind each square, just as the advantages and disadvantages of the innovation.

Cut-off FETs and FET Driver

A FET2driver utilitarian square is answerable for the association and separation of the battery pack between the heap and charger. The conduct of the FET driver is predicated on estimations from battery cell voltages, ebb and flow estimations and continuous discovery hardware. Figures 2A and22B represent two unique kinds of FET associations between the heap and charger, and the battery pack. Figure 2A requires minimal measure of associations with the battery pack and restricts the battery pack working modes to charge, release or rest. The present stream course and the conduct of a particular continuous test decides gadget's state. For instance, Inters IL's ISL94203 independent battery pack screen has a CHMON reference for the remainder of the hardware. Low-side FET driver associations are2found in some coordinated answers for lessen cost on the grounds that a charge siphon isn't required. A low-side association doesn't require high voltage gadgets, which devour a bigger pass on region. Utilizing the cut-off FETs on the low-side buoys the battery pack's ground association, making it progressively defenceless to clamour infused into the estimation, which can influence the exhibition of certain ICs. input that screens the voltage on the correct side of the cut-off FETs. On the off chance that a charger is associated and the battery pack is detached from the charger, the current2infused towards the battery pack will make the voltage ascend to the charger's most extreme inventory voltage. The voltage level at CHMON is stumbled telling the BMS gadget a charger is available. A heap association is controlled by infusing a current into the heap to decide whether a heap is available. In the event that the voltage at the pin doesn't raise altogether when current is infused, the result decides a heap is available. The FET driver's DFET is then turned on. The association plot for Figure22B permits the battery pack to work while charging.

FET drivers can be intended to interface with the high-side or low-side of a battery pack. A high-side association requires a charge siphon driver2to actuate the NMOS FETs. Utilizing a high-side driver takes into consideration a strong ground.

Fuel Gauge/Current Measurements

The fuel measure useful square monitors the charge entering and leaving the battery pack. Charge is the result of current and time. There are a few distinct procedures that can2be utilized when planning a fuel measure. A present sense speaker and a MCU with an incorporated low goals ADC is one technique for estimating the current. The present sense intensifier works in high regular mode situations and enhances the sign, empowering higher goals estimations. This plan procedure penances dynamic range. Different methods are to utilize a high goals ADC, or to buy an expensive fuel measure IC. 2Understanding the conduct of the heap regarding current utilization versus time decides the best kind of fuel measure plan. The most exact and cost proficient arrangement is to quantify the voltage over a sense resistor utilizing a 16-piece or higher ADC with low counterbalance and high regular mode rating. A high goals ADC offers a huge powerful range to the detriment of speed. In the event that the battery is associated with an inconsistent2burden, for example, an electric vehicle, the moderate ADC may miss high greatness and high recurrence flow spikes that are conveyed to the heap. For sporadic burdens, a SAR ADC with maybe a present sense speaker front end might be progressively attractive. Any counterbalance blunder brings about a general mistake in the measure of charge in the battery. Estimation blunders after some time will cause critical battery pack charge status mistakes. An estimation balance of250µV or less with 16-piece goals is sufficient in estimating charge. With most current estimation hinders, there are simple comparators observing for impede over current conditions. The simple comparator signal is straightforwardly associated with FET drivers to limit inertness between2the occasion and segregating the battery pack from the heap or charger. An inertness time of a few 10s of microseconds is satisfactory for most applications, and in many applications, the quicker an opportunity to separate the battery, the better.

Cell Voltage and Maximizing Battery Lifetime

Observing the cell voltage of every cell inside a battery pack is basic in2deciding its general wellbeing. All cells have a working voltage window that charging and releasing ought to happen to guarantee appropriate activity and battery life. In the event that an application is utilizing a battery with a lithium science, the working voltage regularly goes2somewhere in the range of 2.5V and 4.2V. The voltage extend is science subordinate. Working the battery outside the voltage go fundamentally diminishes the lifetime of the cell and can render the cell pointless. Cells are associated in arrangement and corresponding to shape a battery pack. An equal association builds the present drive of the battery pack, while an arrangement association expands the general voltage. Cell voltages resemble everything that is made. A cell's exhibition has a circulation: at time equivalent zero, the cells2charge and release rates inside a battery pack are the equivalent. As every cell is cycled among charge and release, the rate at which every cell charges and releases changes, bringing about a spread dissemination over a battery pack.

of the cells not fully charged. A charging scheme as described does not maximize the battery pack ON time per charge. The charging scheme also reduces the lifetime of the battery pack because more charge and discharge cycles are needed. A weaker cell discharges faster. The same type of2occurrence. There are two means of improving the ON time of a battery pack per charge. The first one is slowing the charge to the weakest cell receives during the charge cycle. This is achieved by connecting a bypass FET with a current limiting resistor across the cell (see Figure 3A). This takes the current from the cell with the highest current resulting in a slowing of charge to the cell, allowing the other cells in the battery pack to catch up. The ultimate goal is to maximize the battery pack’s charge capacity, which is achieved by having all the cells reach the fully charged limit simultaneously. The battery pack can be balanced on the discharge cycle by implementing a charge displacement scheme. A charge displacement scheme is achieved by taking charge via inductive coupling or capacitive storage from the alpha cell and injecting the stored charge into the weakest cell. This slows the time it takes weakest cell to reach the discharge limit. This is known as active balancing (see Figure23B). Battery packs with one to four batteries in parallel and three or more in series benefit the most from balancing. As the parallel combinations increase per cell, the weak cell’s performance is averaged with other cells in parallel. The performance distribution between cells is tighter. The benefit of having more cells in parallel is also a detriment because it is harder to find the weaker cell in a battery pack. A battery pack sitting idle could be burning charge due to the strong cells propping up the weaker cell. The2cell voltage and balancing circuitry receives the harshest treatment from hot plug events. There is not an OFF button on a battery. Connecting the circuity to a battery, load or charger can result in large transients occurring at the inputs of the device. A designer should be aware of the maximum rating of sensitive pins. The maximum voltage rating of a pin is a key specification to determining the likelihood that a transient event will damage the circuitry. The rule of thumb is the higher the voltage rating of a pin, the more2robust the part will be in suppressing transients. An IC manufacturer designing with a high voltage process ensures that the device is protected from transient events at the expense of design with large geometries. This raises the cost of the device. Other IC manufactures will design with a low voltage process and stack the devices such that a device never exceeds the process rating. This approach relies upon circuitry such as capacitors, resistors and diodes to suppress the transient before it reaches the pin. Both manufacturing types require the use of diodes, resistors and capacitors to dampen transients. 2Using a high voltage rated IC adds further protection against harmful and extraneous signals. Both design approaches will work but the lower voltage rated device may require more tweaking in the development stage to ensure protection against harmful events. The acquisition time of a voltage cell measurement is dependent on the load behaviour as well as the number2of cells to scan. Erratic behaving loads require fast2scan times to monitor a cell’s out of bounds condition. A SAR ADC is often used to achieve quick measurements in a short period of time. A SAR ADC consumes more power and has less resolution.

Temperature Monitoring

Today’s batteries deliver a lot of current while maintaining a constant voltage, which can lead to a runaway condition that causes the battery to catch fire. The chemicals used to construct a2battery are highly volatile, and a battery impaled with the right object can result in the battery catching fire. Temperature measurements are not just used for safety conditions, they can also be used to determine if it’s desirable to charge or discharge a battery. Temperature sensors monitor each cell for energy storage system (ESS) applications or a grouping of cells for smaller and more portable applications. Thermistors powered by an internal ADC voltage reference are commonly used to monitor each circuit’s temperature. The internal voltage reference is2used to reduce inaccuracies of the temperature reading versus environmental temperature changes.

State Machines or Algorithms

Most battery management systems require an MCU or an FPGA to manage information from the sensing circuitry and to make decisions with the received information. In a select few offerings, such as Intersil’s ISL94203, the algorithm is encoded, with some programmability, digitally enabling a standalone solution with one chip. Standalone2solutions are also valuable when mated to an MCU because the state machine within the standalone can be used to free up MCU clock cycles and memory space. Other Battery Management System Building Blocks Other BMS functional blocks include battery authentication, a real time clock, memory and daisy chain. The real time clock and memory are used for black box applications where the RTC is used for a time stamp2and memory is used for storing data, allowing the user know the battery pack’s behaviour prior to a catastrophic event. The battery2authentication block prevents the BMS electronics from being connected to a third-party battery pack. The voltage reference / regulator is used to power peripheral circuitry around the BMS system. Finally, daisy chain circuitry is used to simplify the connection between stacked devices. The daisy chain block replaces the need for optical couplers or other level shifting2circuitry.

2.Literature Review

Simulation can be a powerful tool to evaluate the batteries2for the utilization in system level. It can be a low-cost and simple evaluation method instead of the high-cost and complicate prototyping. However, to guarantee the simulation results of batteries is similar to real condition, it is necessary to get a high-accuracy electrical battery model. In this paper, battery modelling is focused on high capacity of2NiMH battery for the application of Microgrid System. The tested battery is prismatic single cell module, 1.2V, 100Ah. Experiment results are shown: The SOC-OCV relation has very strong hysteresis characteristic and its relation in charging and discharging is obviously different. The terminal voltage response has a different order of exponential function between loaded and2rest conditions. This paper proposes the different RC networks for loaded and rest condition. The model is developed in PSiM and is verified with the experimental data.

To include wind power and2sunlight based force, the Microgrid framework has indicated a guarantee of electric force age at the minimal effort and high productivity. Notwithstanding, wind and sunlight based force are wild sources. The wild sources may create the force pretty much than the sum required by the framework. Microgrid activity can be upset by this uneven force. Brief timeframe unequal force can upset the recurrence or voltage in the AC power line. Moreover, long time lopsided force2can upset the congruity of intensity administration. So it has been prescribed to utilize the vitality stockpiling gadgets to coordinate the forces among organic market.

The vitality stockpiling advances have given the elective2options relying upon needs. The vitality stockpiling framework can give power from a moment to months. The vitality stockpiling gadgets can be arranged by its capacity of giving force, for example, [1]:

- in a few seconds: SMES, regular capacitors, supercapacitors.

- in a few hours: Flywheel2and batteries.

- in days to months: Redox stream cells, siphoned hydro,

packed air vitality2stockpiling, and so on.

Among the different vitality stockpiling gadgets, batteries have

benefits of quick reaction speed, high slope rates, effortlessly sited, secluded, and great vitality proficiency [2]. Particularly in the2microgrid frameworks, the battery can be utilized for smoothing the

wild sources and dealing with the everyday load.

As the battery has been less expensive, 2advancing the battery usage beneficially affects the financial and specialized perspectives. To assess the use of battery in framework, an electrical re-enactment for battery is a lot less expensive than prototyping. In any case, the recreation results are subject to the precision of battery model. To build up a battery model for reproduction, numerous past investigations have2been finished. A few models have been accounted for utilizing the electro-compound base [3-4], while these models are commonly not reasonable for framework re-enactment. In different scientists, the electrical battery models comprising of resistors and capacitors have been contemplated [5-6]. These battery models are increasingly2reasonable for a framework recreation with highlights of arrangement/equal association of battery cells, SOC (State-Of- Charge) observing, powerful reactions, and so forth.

Up until now, there are numerous battery types with their favourable circumstances

also, hindrances. The examinations in battery displaying have likewise been finished with Li-particle, Lead-corrosive, and NiMH batteries2 [7-8]. Among these batteries, NiMH battery is the well-known one. NiMH battery is accounted for good one by a few reasons, for example, high vitality thickness, low costs, non-harmful and wellbeing, and can be applied for the microgrid framework [9]. This battery has been applied to a few marketed HEV.

NiMH battery has interesting attributes contrasting and different sorts. It has been accounted for2that its OCV (Open Circuit Voltage) has solid hysteresis attributes, and a few strategies have been utilized to build up the model for the SOC estimation from its OCV [10-11].

NiMH battery demonstrating in [12-13] was done in releasing just and by utilizing a round and hollow low-limit battery. So the OCV is displayed in releasing as it were. The RC arrange has finished with comparative exponential request during the stacked and rest conditions. Then again, the trial2results with the kaleidoscopic high-limit battery show the SOC-OCV connection in charging and releasing clearly extraordinary [11]. In [14], it is indicated that the SOC-OCV by long hour rest is like the2normal estimation of SOC-OCV in control and release conditions. Since the test is finished with Li-particle type, the test for NiMH battery is important to check the speculation of the normal worth.

In this paper, an electrical battery demonstrating is produced for recreations. An exact battery model dependent on the distinctive RC systems for stacked and rest condition is proposed. The RC arrange2parameters are separated from the examinations, in which the terminal voltage and current reactions are estimated during the stacked and rest condition. The SOC-OCV connection dependent on the distinctive incentive among charge and release is portrayed. The last identical model is created in PSiM. At last, the PSiM re-enactment results are contrasted and the information estimated from the tests to demonstrate the legitimacy of the created2model.

PROPOSED MODEL

Battery displaying has been concentrated by numerous analysts. The models can be straightforward or complex one. A straightforward battery model is appeared in Fig. 1(a). The straightforward model comprises of OCV, Eo, and2arrangement inside obstruction, Ri. The basic model is helpful for assessing the persistent charging or releasing procedure of batteries [6], from the low force application, for example, convenient camera to the powerful application, for example, Electric Vehicle. In a few applications, the batteries might be introduced in powerful conditions. In these conditions, the batteries are charged and released on the other hand in extremely2brief timeframe, for example, in HEV or Microgrid applications. A straightforward battery model isn't appropriate for mimicking these conditions. Hence, the model ought to involve the RC systems to show the transient reaction [12-13].

Figure 1(b) shows the battery model with RC arrange [8, 12]. A2few creators have characterized that the RC arrange spoke to the concoction procedure in battery [15]. For the most part, the RC arrange speaks to the short/long time constants of the transient reaction. This RC arrange model is appropriate for batteries which the reaction is comparable2during the stacked and rest conditions.

The trial of the NiMH battery show the distinctive time-reaction qualities during the stacked and rest conditions. Figure22 shows the battery voltage, Vt and charging current from the exploratory information. The time reaction of Vt shows the exponential qualities. The exponential reaction can be displayed by the RC arrange. The voltage of RC organize, Vrc, can be communicated as:

Vrct =Vtt-Eot-VRit						(1)

which Vt is the terminal voltage, Eo is the OCV and V is the voltage of opposition, Ri. Figure 32shows the separated Vrc from Vt by following (1). Figure 3(a) shows Vrc reaction during the charging condition and Fig. 3 (b) shows Vrc reaction during the rest condition. Figure 3 shows the bend fitting outcomes for Vrc finished with toolbox, the bend fitting apparatus of MATLAB. The bend fitting outcomes are plotted by the white flimsy line. Clearly the fitting line is fundamentally the same as the trial information. The bend fitting outcomes recognized that the RC organize voltage was like first-request during the2current streamed or2stacked. During the rest condition, it was like second-order. Concerning to this condition, an extra RC-organize was proposed for speaking to the second-request reaction during the rest condition.

Figure 42shows the proposed model. The model parameters comprise of the OCV (Eo), the inner opposition (Ri), the interior obstruction capacitance (Rd-Cd), and the inside opposition capacitance-virtual switch (Rr, Cr, Sr) for rest condition. During the rest condition when Sr is open, the RC organize for the battery model turns into a second-request framework containing Rd-Cd and Rr-Cr. Then again, during the stacked condition when Sr is close thus Rr-Cr is in impede, RC organize turns into a first-request framework including Rd-Cd. Exploratory2SET UP

Battery for the investigation was Sebang GMH2100 NiMH Battery, kaleidoscopic single cell module, 1.2V and 100Ah. The test was performed at 30oC. During the examinations, the battery temperature was expanded unimportantly. The programmed battery analyser was customized by the PC program. The beat current for charging and releasing procedures were executed in the program. The PC additionally observed2battery condition including temperature, terminal voltage and current. Each datum was recorded at each second. RC2model Parameter extraction.

Model Extraction

The model parameters were separated from the exploratory information of heartbeat current test under charging and releasing. A fundamental system clarified in2 [8] is received for parameters extraction. MATLAB is utilized to improve the removed parameters of model. Ri and Rd-Cd are extricated from the stacked terminal voltage reaction, while Rr-Cr are separated2from the rest condition.

The terminal voltage reaction brought about by opposition Ri can be related to its direct bend soon after current changed. Figure22(a) shows this reaction. Opposition Ri can be determined from the terminal voltage reaction not long when current changed. The obstruction can be determined by:

Ri= Vta-VtbI								(2)

which Vta is the voltage2soon after, Vtb is the voltage not long before current changed and I is the battery current. Note that, the opposition esteem must be sure. Since in release mode (Vta - Vtb) is negative, the outright capacity kept the2Ri esteem in positive.

The reaction brought about by Rd-Cd can be related to the exponential reaction. The exponential reaction bend was happened soon after the direct bend brought about by Ri. Figure22(a) shows this reaction. The RC organize voltage, Vrc, in this period can be separated by (1). Worried to the exponential reaction in2this period, Vrc can be communicated as:

Vrct= I. Rd(1-etRd.Cd)                                                                            (3)

which Rd-Cd can be determined by bend fitting in2MATLAB.

All parameters of Rr-Cr were separated from the voltage reaction in rest condition. Despite the fact that the scientific model for the rest condition can be found by bend fitting, 2yet Rr-Cr can't be found straightforwardly. The parameter extraction of Rr-Cr has compels:

- Dependent on Rd-Cd

- The worth must be sure since the demonstrating is based on2electrical model.

The circuit analysis was needed2for parameter extraction of Rr-Cr. Figure 5 shows the RC network circuit adopted from Fig. 42when the switch Sr is open or in rest condition. Note that Vrc in Fig. 5 is equal to the voltage of capacitor Cd, Vcd, in Fig. 4. The2equation for circuit in Fig. 5 can be expressed as:

aV''+bV'+cV =0                                                                                    (4)

where,

a = Rr Rd Cr Cd

b=RrCr +RrCd +RdCd

c=1

The solution for (4) is a second2order exponential which

has two roots. The roots s1 and s2 of the function can be found by abc equation. With the initial condition of Vrc(0) and Vrc ́(0), then the Vrc can be2solved. Vrc in time function can be expressed as:

Vrc (t) = y1.et.s1 + y2.et.s2                                                                        (5)

Since the parameter2extraction of Rr-Cr has constrains, Vrc in (5) derived from the circuit analysis and from the curve fitting result can be different. A flowchart was made to reduce the modelling error of Vrc in (5) and the experiment data. Figure 6 shows the flowchart to find Rr-Cr. The flowchart calculated LSE (Least Square Error) and the maximum error to evaluate the similarities between Vrc model and the2experiment data. The result of parameter extraction is shown in Appendix. The result shows that every parameter is SOC dependent. The internal resistance Ri has less SOC dependent than other parameters.

OCV measurement and modelling

The OCV is defined as an internal battery voltage in equilibrium condition. Since batteries have electrical and chemical characteristics, 2it is necessary to simplify the identification of equilibrium condition. This condition was approached by the electrical condition which the terminal voltage has zero dVdx. However, when dVdxwas closed to zero, then dVdxwas changed alternately between very small positive and negative value. It may2cause by the noise of measurement. When this condition was reached, the battery was assumed in equilibrium condition. Based on [16], the equilibrium condition identified by this2method was approximately reached with rest time of 1h.

The OCV measurement was done by applying constant pulse current in some interval time. This current is equal to210% SOC. It was done for both of charging and discharging. The SOC-OCV relation was saved in PSiM look-up table.Figure 7 shows the result in PSiM2simulation result. The OCV in charging is higher than in discharging mode. This result shows that the OCV modelling with average value is not suitable for NiMH.

The OCV plot in Fig .7 is well known as the major loop. 2This loop is similar to a border line for SOC-OCV relationship. Any loops of SOC-OCV obtained from the charging-discharging processes must be in the area between the major loops. A curve crossing between the major loops is called as the minor loops. Practically, these minor loops2of OCV are occurred when batteries is charging and discharging alternately. For example, the battery is charging to 80% SOC then discharging to 0%2SOC.

The relationship of SOC-OCV is similar to the hysteresis characteristics in magnetic devices. This relationship can be modelled by2Takacs model as explained detailed in [9].

Model Verification

To verify the accuracy of modelling, the simulation result and the experiment data were compared. Figure28 shows the battery response in charging operation. The battery was charged by current pulses of 95A until end-of-charge voltage was achieved. After the battery was charged by a pulse current, the rest condition was applied for 1h. The error between simulation and experiment data is shown in Fig. 8.(bottom). This figure shows that the modelling2error is high at the low and high SOC. The error was generated by the non-linear characteristics of RC network. In the middle area of SOC, the modelling error is small. The maximum error was about 12mV when the RC network was non-linear. However, the error in linear condition was generally2less than 5mV. Figure 9 shows the zoomed part of Fig. 8. It is obvious that the model has very high-accuracy. Figure 10 shows the battery response in discharging operation. The pulse current magnitude2was 95A. The negative pulses were applied to the battery until the end-of-discharge voltage. After the battery was discharged by a pulse current, then rest condition was applied for21h. The error is high in low and high SOC as well as in charging operation. The error in linear condition was generally up to 5mV as shown in Fig. 10(bottom). From Fig. 11, it was confirmed that the model has high-accuracy in discharging as well as in2charging.

3. Simulation and Result of BMS model for NiMh Batteries

Battery modelling2has been studied by many researchers. The models can2be simple or complex one. A simple battery model is shown in Fig. 1(a). The simple model consists of OCV, Eo, and series internal resistance, 2Ri. The simple model is useful for evaluating the continuous charging or discharging process of batteries [6], from the low power application such as handy camera to the high power application such as Electric2Vehicle. In several applications, the batteries may be installed in very dynamic conditions. In these conditions, the batteries are charged and2discharged alternately in very short time, such as in HEV or Microgrid applications. 2A simple battery model is not suitable for simulating these conditions. Therefore, the model should comprise the RC networks2to show the transient response [12-13].

Constant Load

Current Limiting Resistor

Zener Barrier

Current Sensor

Battery

Voltage Sensor

Fig: Block Diagram of proposed model

In this module we tried to2develop a model which will help in analysing state of charge and state of health of a particular battery. The voltage  sensor in the above figure measure the voltage across the battery. The current sensor measure the current coming out of the battery. We2have a current limiting resistor which is connected directly to the load to limit the current flowing in the load. The Zener barrier which is connected across the load is used to give us constant voltage in case of reverse bias2condition. This is Zener barrier help to make the circuit intrinsic safe. Using MATLAB we tried to design this above system and we pick the waveform across the voltage sensor and current sensor. For the2estimation of state of charge we need to2have the voltage and the current. So the state of charge So the state of charge estimation a different2method among which some of the frequently used methods are used in this.

Latest 5 to construct a scenario for getting the smallest value of the updates we need to have minimum values for each of the 5 medians. Now what is the lowest value of the medium of any25 groups that can take? The median is the middle term among the 5 elements so it cannot be one or 2 but it can be 3 if it were 12345 the median would be 3. If you choose a sub group such as this smallest medium for the next group will be a the next group could be 6, 7. Battery modelling has been studied by many researchers. The models can be simple or complex one. A simple battery model is shown in Fig. 1(a). 2The simple model consists of OCV, Eo, and series internal resistance, Ri. The simple model is useful for evaluating the continuous charging or discharging process of batteries [6], from the low power application such as handy camera to the high power application such as Electric Vehicle. In several applications, the batteries may be installed in very2dynamic conditions. In these conditions, the batteries are charged and discharged alternately in very short time, such as in HEV or Microgrid applications. A simple battery model is not suitable for simulating these conditions. Therefore, the model should comprise the RC networks to show the transient response [12-13].

Figure 1(b) shows the battery model with RC network [8, 12]. Some authors have defined that the RC network represented the2chemical process in battery [15]. Generally, the RC network represents the short/long time constants of the transient response. This RC network model is suitable for batteries which the response is similar during the loaded and rest conditions.

The tests of the NiMH battery show the different time- response characteristics during the loaded and rest conditions.2Figure 2 shows the battery voltage, Vt and charging current from the experimental data. The time response of Vt shows the exponential characteristics. The exponential2response can be modelled by the RC network. The voltage of RC network, Vrc, can be expressed as. which Vt is the terminal voltage, Eo is the OCV and VRi is the voltage of2resistance, Ri. Figure 3 shows the extracted Vrc from Vt by following (1). Figure 3(a) shows Vrc response during the charging condition and Fig. 3 (b) shows Vrc response during the rest condition. Figure23 shows the curve fitting results for Vrc done with FFToolbox, the curve fitting tool of MATLAB. The curve fitting results are plotted by the white thin line. It is obvious that the fitting line is very similar to the experiment data. The curve fitting results identified2that the RC network voltage was similar to first-order during the current flowed or loaded. During the rest condition, it2was similar to second-order . UPS are surprising arrangements for the overall power cut issue. The innovative work of different innovations in UPS is by and large effectively directed. The part of the battery as2the source ill UPS is noteworthy. The present Rising power cuts and overall familiarity with ecological issues have brought about expanded improvement of energy stockpile frameworks. The battery is a standout2amongst the most allurer energy stockpile frameworks due to its high proficiency & low contamination. There are a few sorts of batteries at present being utilized as apart of industry: lead-acid battery, Ni-MH battery, Ni-Cd battery, and Li-ion battery. Batteries reformed the way power2can be put away and prepared for more prominent portability in our regular lives. From versatile hand phones to cutting edge space hardware, batteries find multitudinous applications. They are the most widely recognized electrical energy storage gadgets ill UPS. The battery has the focal ports of high operating cell voltage, low counteraction, low2self- discharge rate, and high power density. Batteries are utilized usually for compact utilities, electric vehicles, and industrial applications2

HTML Code for the web designing is as follows:

<!DOCTYPE html>

<html>

<head>

<title>Arnab Banerjee</title>

<link rel="stylesheet" type="text/css" href="../css/resume.css">

<script src="https://kit.fontawesome.com/50779d2057.js" crossorigin="anonymous"></script>

</head>

<body>

<header>

<section id="navigation-list">

<ul class="horizontal-list navigation text-center">

<li><a href="#">Home</a></li>

<li><a href="#about">About</a></li>

<li><a href="#skills">Skills</a></li>

<li><a href="#experience">Experience</a></li>

<li><a href="#education">Education</a></li>

<li><a href="#portfolio">Portfolio</a></li>

<li><a href="#contact">Contact</a></li>

</ul>

</section>

<h1>Arnab Banerjee</h1>

<section>

<ul class="horizontal-list social-icons text-center">

<li><a href=""><i class="fab fa-facebook-f"></i></a></li>

<li><a href=""><i class="fab fa-linkedin-in"></i></a></li>

<li><a href="https://www.instagram.com/arnab863729/" target="blank"><i class="fab fa-instagram"></i></a></li>

<li><a href="https://www.quora.com/profile/Arnab-Banerjee-53" target="blank"><i class="fab fa-quora"></i></a></li>

<li><a href=""><a href="https://gmail.com"><i class="fab fa-google-plus-g"></i></a><img src=""></a></li>

<li><a href=""><i class="fab fa-stack-overflow"></i></a></li>

</ul>

</section>

</header>

<main>

<section id="about">

<div id="self-image">

<img src="../pictures/self1.jpg">

</div>

<p class="text-center">Electrical Engineer by degree but <span>coder by choice</span></p>

</section>

<section id="skills"></section>

<section id="experience"></section>

<section id="education"></section>

<section id="portfolio"></section>

<section id="contact"></section>

</main>

</body>

</html>

The CSS code for the above is:

/*header*/

header a{

text-decoration: none;

color: white;

}

/* horizontal list */

.horizontal-list{

list-style: none;

padding: 0px;

}

.horizontal-list li{

display: inline-block;

}

/* closing horizontal list */

/* navigation properties */

.navigation li{

padding: 10px;

}

.navigation li a:hover{

border-bottom: 2px solid lightgrey;

color: lightgrey;

/*transition: border-bottom 5s, color 5s;*/

}

/* closing navigation properties */

/* social icons */

.social-icons li a i{

padding: 20px;

border-radius: 50%;

}

.social-icons li a i:hover{

box-shadow: 0px 0px 6px 4px rgba(230,196,196,0.3);

}

/* closing social icons */

.text-center{

text-align: center;

}

/* header back-ground */

header{

height: 65vh;

background-image: url("../pictures/library.jpg");

background-size: cover;

background-position: center;

opacity: 0.9;

background-attachment: fixed;

}

/* closing header back-ground */

/* name */

header h1{

text-align: center;

color: white;

margin-top: 100px;

font-size: 3rem;

letter-spacing: 0.1rem;

}

header h1:hover{

color: lightgrey;

transition: color 1s;

}

/* closing name */

/*header*/

/* About */

#about{

height: auto;

width: 100%;

position: relative;

}

#self-image{

height: 12rem;

width: 12rem;

margin: auto;

margin-top: -17vh;

}

#self-image img{

border-radius: 50%;

height: 100%;

width: 100%;

border: 4px solid white;

box-shadow: 0px 0px 10px 8px rgba(230,196,196,0.3);

}

#about{

font-family: sans-serif;

}

#about span{

color: #36A8E7;

}

/* About */

The python code for the following is:

def batterymanagementsystem(weights,items,capacity):
    knapSack=[[0 for _ in range(capacity+1)] for x in range(len(items)+1)]
    for i in range(1,len(items)+1):
        curWeight=weights[i-1]
        curvalue=items[i-1]
        for c in range(1,capacity+1):
            if curWeight>c:
                knapSack[i][c]=knapSack[i-1][c]
            else:
                knapSack[i][c]=max(knapSack[i-1][c],knapSack[i-1][c-curWeight]+curvalue)
    return [knapSack[-1][-1]]

def getSequence(knapSack,items,capacity):
    i=len(knapSack)-1
    c=capacity
    l=[]
    while i>=0:
        if knapSack[i-1][c]==knapSack[i][c]:
            i-=1
        else:
            l.append(i-1)
            c-=items[i-1][1]
            i-=1
    return list(reversed(l))
weights=[20,61,20,85,64,26,93,65,49,36,19,99,21,46,9,49,71,25,27,59,59]
items=[20,65,10,79,99,40,99,3,11,69,89,13,38,71,44,5,79,45,12,94,33]
print(knapsackProblem(weights,items,399))

4. Consideration of Intrinsic safe standards of BMS

UPS are surprising arrangements for2the overall power cut issue. The innovative work of different innovations in UPS is by and large effectively directed. The part of the battery as the source irl UPS is noteworthy. The present Rising power cuts and overall familiarity with ecological issues have brought about2expanded improvement of energy stockpilirlg frameworks. The battery is a standout amongst the2most allurirlg energy stockpilirlg frameworks due to its high proficiency & low contamination. There are a few sorts of batteries at present being utilized as apart of industry: 2lead-acid battery, Ni-MH battery, Ni-Cd battery, and Li-ion battery.

Batteries reformed the way power can be put away and prepared for more prominent portability in our regular lives. From versatile2hand phones to cutting edge space hardware, batteries find multitudinous applications. They are the most widely recognized2electrical energy storage gadgets irl UPS. The battery has the focal poirlts of high operating cell voltage, low commemoration, low self- discharge rate, and high power density. Batteries are utilized usually for compact utilities, electric vehicles, and industrial applications. Battery stores chemical vitality and believers it into electrical vitality as and when needed through the circuit. A battery comprises of one or more2electrochemical cells. Despite the fact that the terms battery and cell are regularly utilized reciprocally, cells are the2fundamental units of which batteries are built.

Batteries comprises of one or more cells that are electrically associated. Lead acid batteries are generally utilized irl UPS because of its outlay, the hypothetical foundation for figuring the SOC is acquired. The calculation of battery SOC evidence is delineated in point of interest. The calculation of the battery SOC "online" evidence considering the impact2of various factors can be effortlessly utilized as apart of practice by a microcontroller.

BMS is an imperative piece of ups. The procedure of battery modification and its admirlistration is significant amid ups BMS outIine. It secures the battery framework from harm, predicts and builds2battery life, and keeps up the battery framework in an exact operating condition. The BMS performs a few assignments such as measuring voItage, current and temperature, SOC, SoH, heat administration, controlling the charging/discharging, data acquisition, correspondence with on-board also, off-board modules, observing and putting away recorded information.

The execution of a2battery when it is associated with a load or a source is in light of the chemical responses inside the battery. The chemicals corrupt with time and utilization that mirror the steady lessening in the vitality capacity limit of the battery. The battery devaluation process should be2decreased by molding the battery in a suitable way by regulating its charging and discharging profile. the battery life time will be reduced when the battery is worked under a extensive variety of heat2conditions and continuous charge and profound discharge cycles. When its utilized with a power conditioning framework that has security components and programmed shutdown .Henceforth, BMS, which is adaptable to secure batteries of distinctive sorts and can give all the2wellbeing components, has been introduced for UPS.

SOC is characterized as the present limit of the battery communicated as far as its appraised limit. SOC gives the current condition of the battery and empowers batteries to securely be2charged/discharged at a level suitable for battery life improvement. SOC is not immediate, on the grounds that it includes the estimation of battery voltage, current, temperature, and other data that relates to the battery under thought. Precise estimation of SOC averts battery harm or quick maturing by evading unacceptable over charge/discharge.

The traditional SOC estimation2utilizing the Coulomb checking strategy experiences error collection glitch, prompting wrong estimation. Furthermore, the limited battery effectiveness what's more, the compound response that happens amid charge/discharge conditions cause temperature2rise, which impacts SOC estimation. Along these lines, precise algorithm is expected to model the battery for SOC estimation [12]. Hence, exact computation of SOC must be joined by a persistent observing of the genuine limit of the cell with various estimations of the cells2to mirror the real and functional capacity of the cell to fit the distinctive load conditions.

The paper is sorted out Various SOC estimation techniques are reviewed in section 11, The SOC estimation procedure & simulation results on the picked batteries are displayed in Section III. The2proposed BMS is examined, BMS operation2is performed in proteus firmware, Hardware description and results are examined in Section IV, trailed by conclusions in Segment V. The batteries generally utilized as a p a r t o f UPS framework Precisely and dependably get the battery SOC is the most fundamental and the top need to the2battery administration framework. It is the premise to summon the battery status and choose to2sensibly utilize battery next. The units of SOC are rate focuses (100% or l.0 = completely charged and 0% or 0.0 = unfilled).The SOC2sign is helpful not just to assess the running time limit for UPS, also, to keep the batteries at a predefined SOC to convey and acknowledge charging without the danger of over discharge/charge. 2Many papers give a writing review on the classifications and scientific strategies for SOC estimation. V arious reviews o f new and current improvements in condition of charge (SOC) evaluating routines for battery is given where the core interest lies upon numerical standards and handy executions. Taking into account the appraisal of SOC estimation systems, the future improvement heading of SOC estimation is possible

The exactness of2estimation of SOC can be crucial and commence in planning the battery administration framework. Analysts in the fields might take it a critical and testing assignment, obliging loads of2work and vitality, with a specific end goal to move forward the precision in estimation of SOC. The SOC estimation assignments have made it incredible progress from established2and run of the

mill routines. This section shows the weaknesses over different existed estimation routines and2examined the meaning of SOC in subtle elements in the ups application. Study on the guideline and utilization of2the SOC estimation calculation against numerous current specialized challenges of SOC estimation calculation for batteries is extremely vital. Exact estimation of SOC can keep battery from excessively charging and discharging, so the lifetime of batteries will be expanded. The vitality capacity of a battery relies on upon charge current, discharge current, age, temperature, cut-off voltage, and administration history Thusly, numerous2systems have been proposed to redesign the SOC of a cell or battery. The battery's life time can be anticipated by evaluating its ability. SOC can be connected in different fields portrayed as a vital parameter for evaluating lingering limit condition of battery. It is acquired from2present or gathered information, such as voltage, current and temperature also.

The different scientific routines for estimation are grouped by methodology. The grouping of these SOC estimation systems is distinctive in the different writings. Be that as it may, a2few literary works  permit a division into the accompanying following categories.

Direct estimation: this strategy utilizes2physical battery properties, for example, the voltage and impedance of the battery. Many diverse direct routines have been utilized: terminal voltage system, impedance estimation strategy, open circuit voltage system, and impedance spectroscopy system.

Terminal voltage system: Due to the inner2impedances when the battery is discharging the terminal voltage drops (Vt), Vt a EMF Since the EMF of battery is approximately linear proportional to the SOC. However, toward the end2of battery release, the evaluated blunder of terminal voltage strategy is huge, in point of fact that the terminal voltage of battery abruptly drops toward the end of discharge. This technique2does not function admirably on Li-particle batteries, since the centre area of the discharge bend of Li-particle batteries is level. A little estimation lapse will bring about an expansive assortment in SOC. Direct estimation does not take temperature and aging impacts into2thought.

Impedance estimation strategy: Internal Resistance system battery inside resistance has two sorts of distinctive, impedance and DC resistance. They all have a cosy association with the SOC. The battery2impedance is the transfer function of battery voltage and current. It is a mind boggling variable which demonstrates the resistance limit of the battery to the AC current. We require AC impedance instrument to gauge it. The battery impedance is vigorously impacted by temperature. 2Among the methods which have been utilized, impedance estimations give information of a few parameters, which may rely on upon the SOC of the battery. In spite of the fact that the impedance parameters and their varieties with SOC are not one of a kind for2all .

5. Conclusion and Future Work

Future work will be designing a enhance intrinsic safe coulomb counting method for mine batteries as these will help in designing the battery management system for mines. For designing enhance pool accounting for mines we have to make these system intensive save and by using in hands method so that for future work for future work beam design system which have higher efficiency. The conclusion from this project is that we have designed a battery management system which is entrance safe and can be used in mines as it is recommended in jio I mine sat .